HEALTH OFFICER/SCHOOL NURSE CHECKLIST

| MAINTAINING STUDENT HEALTH | Yes | No | N/A |
| --- | --- | --- | --- |
| Completed health records for each student |  |  |  |
| Updated health records, as appropriate |  |  |  |
| Obtained necessary information about student allergies and other health factors |  |  |  |
| Developed a system to log health complaints (note symptoms, location and time of symptom onset, and exposure to pollutant sources) |  |  |  |
| Monitored trends in health complaints (especially in timing or location of complaints) |  |  |  |
| Investigated potential causes of health complaints (for example, school was renovated or refurnished recently; individual recently started working with new or different materials or equipment; new practices or products, such as cleaners or pesticides, were introduced into the school) |  |  |  |
| Ensured that the school prohibits smoking |  |  |  |
| Noted any new warm-blooded animals introduced into classrooms |  |  |  |
| Reviewed and understood indicators of IAQ-related problems |  |  |  |

| HEALTH, IAQ, AND HYGIENE EDUCATION | Yes | No | N/A |
| --- | --- | --- | --- |
| Educated students and staff about the importance of good hygiene |  |  |  |
| Arranged individual instruction/counseling where necessary |  |  |  |
| Developed information and education programs for parents and staff |  |  |  |
| Established an information and counseling program for smokers |  |  |  |
| Provided literature on smoking and secondhand smoke |  |  |  |
| Educated school staff, students, and parents on the link between IAQ and health |  |  |  |

| HEALTH OFFICER’S OFFICE | Yes | No | N/A |
| --- | --- | --- | --- |
| Ensured the ventilation system operates properly and supplies adequate quantities of outdoor air (i.e., at least 25 cubic feet per minute of outdoor air per occupant) |  |  |  |
| Ensured that air filters are clean and properly installed |  |  |  |
| Ensured that air supply pathways are clear of any obstructions |  |  |  |
| Determined that air removed from the health office is separated from the ventilation system to avoid affecting other occupied areas of the school |  |  |  |